How to TMT with FragPipe

Select Peak Picking & zero Samples from the dropdown

Select your .raw files here

Convert your .raw files to mzML files using MS Convert

Press start…..file conversion will take approx.. 15 min

- Load TMT-10 MS3 workflow in FragPipe

Just load the folder

Load converted files into FragPipe

- Set experimental detail/bio-replicates if applicable

If Bioreplicates are contained within TMT channels (e.g. rep1 126, rep2 127N, rep3 127C, etc.) set Bioreplicate to 1.

Define replicates

Select the appropriate tag set

Define TMT-channels

- Keep the 126, 127N, etc. description for each channel in Sample name! And save to the raw-file folder

- Run the analysis

“”

- Look at your Data using FragPipe Analysit

Run the following R-script to obtain the correct experimental annotation file for downstream analysis with FragPipe Analyst: C:\Users\Daniel Nomura\Desktop\correct_experimental_annotation_for_Fragpipe-TMT

Use the abundance_gene_MD.tsv and the newly generated experimental_annotation.tsv as input for FragPipe Analyst (http://fragpipe-analyst.nesvilab.org). Filter

for 100% non missing values in all replicates for best data quality.